## Slide 1
Progress update
Sabrina and Scott, Elon

## Slide 2
Ongoing research:
To study the effect of particle (grain) size and aperture size on diffraction pattern variability.
Aperture size
Particle size
Multi factor space
Aperture size:
1 x 16 mm2
0.6 x 16 mm2
0.1 x 16 mm2
Particle size:
Approach evaluated using X-ray diffraction spectra from NaCl powder…

## Slide 3
Number of grains in the analyzing volume
Probability that a grain is correctly oriented
Coefficient of variation
Assumption! Random orientation of particles (grains) in the analyzing volume.
V - inspected volume = 1.6, 0.96, and 0.16 mm3
– angle defining the normal of the diffraction plane; range of orientations satisfying Bragg’s law = 2.2e-6 sr
C – occupancy of crystals = 0-1
– multiplicity factor for diffraction = 6
for {100} family of planes in cubic materials
– volume of each grain = 4/3pr3
A – 2p half space for possible orientations of the grain = ?
Ongoing research:
To study the effect of particle (grain) size and aperture size on diffraction pattern variability
- quantified by determining the Coefficient of Variation, Cv
Coefficient of variation – calculated*:
*B. Ghammraoui et al., “Effect of grain size on stability of X-ray diffraction patterns used for threat detection”, Nuclear Instruments and Methods in Physics Research A 683 (2012) 1-12

## Slide 4
Ongoing research:
To study the effect of particle (grain) size and aperture size on diffraction pattern variability
- quantified by determining the Coefficient of Variation, Cv
Coefficient of variation – Experimentally determined*:
*B. Ghammraoui et al., “Effect of grain size on stability of X-ray diffraction patterns used for threat detection”, Nuclear Instruments and Methods in Physics Research A 683 (2012) 1-12
Coefficient of variation inversely proportional to SNR
  - Ghammraoui et.al. evaluated this numerically and experimentally
  - Cv=(std.deviations of intensities)/(average intensities of scans)
    Simplifies out to 1/std. deviation

## Slide 5
As-entered powder, loose packing
Powder pressed into the holder
1 x 16 mm2 aperture spectra – example spectra variation, fn(particle size):
Characteristic spectra for random particle distribution – deviation from this spectra… increased Cv

## Slide 6
2D Contour color fill maps per straight-forward Ghammraoui et.al. approach – for ‘as-entered powder, loose packing (random)’ and ‘powder (pressed) into the holder’…
This approach seems flawed… Data outcome not in-line with visual inspection of spectra.

## Slide 7
Data processing (ongoing) will explore the following:
Normalize the spectra since counts are impacted by aperture size
Determine the standard deviation using a reference spectra for random particle distribution – possibly an average spectra from the pressed in holder spectra
Evaluate one or a few of the prominent XRD peaks as opposed to all the spectral peaks
We have also begun collecting spectra for sugar (sucrose) and will be collecting spectra for ammonium nitride (AN) and other powder specimen…
Ongoing and future work
AN
NaCl
less faceted